## Sheet1
| Unnamed: 0 | Pavg | Pdet | Front_Pavg | Front_Pdet | Mismatch_rel | Front_Mismatch_rel | MAD/G_Total | Front_MAD/G_Total | MAD/G_Total**2 | Front_MAD/G_Total**2 | poat | gfront | grear | bifi_ratio | stdev | POAT_Irradiance_cell_0 | POAT_Irradiance_cell_1 | POAT_Irradiance_cell_2 | POAT_Irradiance_cell_3 | POAT_Irradiance_cell_4 | POAT_Irradiance_cell_5 | POAT_Irradiance_cell_6 | POAT_Irradiance_cell_7 | POAT_Irradiance_cell_8 | POAT_Irradiance_cell_9 | POAT_Irradiance_cell_10 | POAT_Irradiance_cell_11 | FrontIrradiance_cell_0 | FrontIrradiance_cell_1 | FrontIrradiance_cell_2 | FrontIrradiance_cell_3 | FrontIrradiance_cell_4 | FrontIrradiance_cell_5 | FrontIrradiance_cell_6 | FrontIrradiance_cell_7 | FrontIrradiance_cell_8 | FrontIrradiance_cell_9 | FrontIrradiance_cell_10 | FrontIrradiance_cell_11 | BackIrradiance_cell_0 | BackIrradiance_cell_1 | BackIrradiance_cell_2 | BackIrradiance_cell_3 | BackIrradiance_cell_4 | BackIrradiance_cell_5 | BackIrradiance_cell_6 | BackIrradiance_cell_7 | BackIrradiance_cell_8 | BackIrradiance_cell_9 | BackIrradiance_cell_10 | BackIrradiance_cell_11
0 | irr_Sudafrica_Horizontal_2_1.csv | 0.010293 | 0.010293 | 0 | 0 | 2.292e-05 |  | 6283627.5834 | 5942051.9148 | 3.9484e+13 | 3.5308e+13 | 1.1986 | 0.98766 | 0.21091 | 0.21355 | 0.034845 | 1.2535 | 1.173 | 1.1688 | 1.2442 | 1.2445 | 1.1677 | 1.1602 | 1.2411 | 1.2445 | 1.1669 | 1.1598 | 1.1586 | 0.98766 | 0.98766 | 0.98766 | 0.98766 | 0.98766 | 0.98766 | 0.98766 | 0.98766 | 0.98766 | 0.98766 | 0.98766 | 0.98766 | 0.26583 | 0.18536 | 0.18115 | 0.25654 | 0.25687 | 0.18007 | 0.17253 | 0.2534 | 0.25682 | 0.17923 | 0.17216 | 0.17098
1 | irr_Sudafrica_Horizontal_2_10.csv | 189.1244 | 184.5489 | 147.3884 | 147.3884 | 2.4193 | 1.3638e-06 | 9535.5006 | 9446.9353 | 90925772.5299 | 89244587.0759 | 789.8229 | 621.2296 | 168.5932 | 0.27139 | 0.059716 | 843.808 | 764.1189 | 739.3994 | 834.4386 | 847.2707 | 766.613 | 749.3012 | 837.7443 | 846.8046 | 766.6171 | 742.8591 | 738.8995 | 621.2203 | 621.2143 | 621.2071 | 621.2267 | 621.2355 | 621.2284 | 621.2212 | 621.2408 | 621.2496 | 621.2425 | 621.2353 | 621.2341 | 222.5877 | 142.9046 | 118.1923 | 213.2119 | 226.0351 | 145.3846 | 128.08 | 216.5036 | 225.555 | 145.3746 | 121.6238 | 117.6654
2 | irr_Sudafrica_Horizontal_2_11.csv | 128.0444 | 124.7053 | 100.036 | 100.036 | 2.6078 | -5.0806e-06 | 13866.9575 | 13650.82 | 192292509.2649 | 186344886.1254 | 543.1153 | 429.9168 | 113.1985 | 0.2633 | 0.060722 | 584.713 | 528.3927 | 515.8127 | 575.1063 | 580.6533 | 525.6351 | 508.3982 | 571.7683 | 583.1691 | 531.9245 | 507.9066 | 503.9036 | 429.9045 | 429.9015 | 429.8972 | 429.9123 | 429.9197 | 429.9155 | 429.9112 | 429.9263 | 429.9337 | 429.9295 | 429.9252 | 429.9245 | 154.8085 | 98.4912 | 85.9155 | 145.194 | 150.7336 | 95.7196 | 78.487 | 141.842 | 153.2354 | 101.995 | 77.9814 | 73.9791
3 | irr_Sudafrica_Horizontal_2_12.csv | 59.5941 | 58.2385 | 46.2768 | 46.2768 | 2.2747 | 1.0855e-05 | 28383.625 | 27882.9763 | 805630170.5359 | 777460367.887 | 265.3416 | 210.4767 | 54.8649 | 0.26067 | 0.05453 | 279.6828 | 255.5849 | 249.7263 | 276.8861 | 279.9436 | 256.019 | 250.7136 | 277.2975 | 286.6725 | 271.5222 | 251.679 | 248.3718 | 210.4624 | 210.4627 | 210.4607 | 210.4717 | 210.4775 | 210.4756 | 210.4736 | 210.4846 | 210.4904 | 210.4884 | 210.4864 | 210.4861 | 69.2204 | 45.1222 | 39.2656 | 66.4144 | 69.466 | 45.5434 | 40.24 | 66.8129 | 76.1821 | 61.0338 | 41.1926 | 37.8857
4 | irr_Sudafrica_Horizontal_2_13.csv | 5.8714 | 5.8089 | 4.5324 | 4.5324 | 1.0637 | -4.4957e-06 | 202780.0371 | 191375.7424 | 41119743459.3205 | 36624674789.1616 | 37.1405 | 30.6659 | 6.4746 | 0.21113 | 0.035404 | 38.8302 | 36.3441 | 36.1498 | 38.5673 | 38.5884 | 36.1367 | 35.9145 | 38.4864 | 38.6299 | 36.2139 | 35.9357 | 35.8894 | 30.6653 | 30.6654 | 30.6654 | 30.6657 | 30.6659 | 30.6659 | 30.6659 | 30.6662 | 30.6664 | 30.6664 | 30.6664 | 30.6664 | 8.1649 | 5.6787 | 5.4844 | 7.9016 | 7.9225 | 5.4708 | 5.2486 | 7.8202 | 7.9635 | 5.5475 | 5.2693 | 5.223
5 | irr_Sudafrica_Horizontal_2_2.csv | 15.1991 | 15.0922 | 10.9284 | 10.9284 | 0.70301 | -9.0754e-06 | 95091.6558 | 97447.106 | 9042422995.8214 | 9495938459.4769 | 79.201 | 60.2246 | 18.9764 | 0.31509 | 0.030981 | 81.9433 | 77.0277 | 78.7785 | 82.5448 | 81.3379 | 76.1678 | 78.062 | 82.1314 | 81.1001 | 75.905 | 77.5683 | 77.8455 | 60.2313 | 60.2299 | 60.2295 | 60.2271 | 60.2254 | 60.2251 | 60.2247 | 60.2222 | 60.2206 | 60.2202 | 60.2198 | 60.2198 | 21.7121 | 16.7978 | 18.549 | 22.3177 | 21.1125 | 15.9427 | 17.8373 | 21.9091 | 20.8795 | 15.6847 | 17.3484 | 17.6257
6 | irr_Sudafrica_Horizontal_2_3.csv | 76.631 | 74.95 | 58.0134 | 58.0134 | 2.1936 | -2.3745e-06 | 22485.5889 | 22672.8974 | 505601708.6074 | 514060276.3454 | 334.9415 | 258.8428 | 76.0987 | 0.294 | 0.051678 | 361.4006 | 341.3776 | 334.7347 | 354.0852 | 349.9048 | 322.1316 | 320.0426 | 346.5929 | 346.3598 | 318.1634 | 312.707 | 311.7977 | 258.8683 | 258.8613 | 258.858 | 258.8523 | 258.8475 | 258.8443 | 258.841 | 258.8353 | 258.8306 | 258.8274 | 258.8241 | 258.8236 | 102.5323 | 82.5163 | 75.8766 | 95.2329 | 91.0573 | 63.2873 | 61.2015 | 87.7576 | 87.5292 | 59.336 | 53.8829 | 52.9741
7 | irr_Sudafrica_Horizontal_2_4.csv | 143.5828 | 140.5588 | 110.8409 | 110.8408 | 2.1061 | 1.6247e-05 | 12430.8609 | 12392.0139 | 154526302.9026 | 153562007.6433 | 605.8596 | 473.5886 | 132.271 | 0.2793 | 0.055073 | 648.2701 | 593.4187 | 573.9056 | 637.5546 | 644.4595 | 586.7476 | 572.8344 | 638.6568 | 645.0273 | 585.4367 | 573.0354 | 570.9686 | 473.617 | 473.6071 | 473.6011 | 473.5995 | 473.5961 | 473.5901 | 473.5841 | 473.5825 | 473.5791 | 473.5731 | 473.5672 | 473.5662 | 174.6531 | 119.8116 | 100.3045 | 163.9551 | 170.8634 | 113.1575 | 99.2503 | 165.0743 | 171.4482 | 111.8636 | 99.4683 | 97.4024
8 | irr_Sudafrica_Horizontal_2_5.csv | 200.9156 | 195.6491 | 156.0118 | 156.0118 | 2.6213 | 2.8745e-06 | 8991.4157 | 8945.8375 | 80845556.4317 | 80028008.6474 | 837.6163 | 656.0276 | 181.5887 | 0.2768 | 0.059955 | 900.1006 | 818.9927 | 803.1458 | 890.8449 | 896.2249 | 812.0908 | 795.5269 | 884.52 | 891.2775 | 806.1808 | 778.5481 | 773.9427 | 656.0562 | 656.0443 | 656.0354 | 656.0392 | 656.0379 | 656.029 | 656.0202 | 656.024 | 656.0227 | 656.0138 | 656.005 | 656.0035 | 244.0444 | 162.9484 | 147.1104 | 234.8057 | 240.187 | 156.0617 | 139.5068 | 228.4961 | 235.2548 | 150.1669 | 122.5432 | 117.9392
9 | irr_Sudafrica_Horizontal_2_6.csv | 240.434 | 233.8467 | 188.0505 | 188.0505 | 2.7398 | 7.3593e-06 | 7545.0279 | 7471.4376 | 56927445.6883 | 55822379.7533 | 998.188 | 785.4869 | 212.7011 | 0.27079 | 0.062136 | 1080.1336 | 977.0501 | 955.0232 | 1060.3154 | 1068.6326 | 968.4275 | 937.8036 | 1052.7518 | 1066.7066 | 963.7672 | 926.895 | 920.7496 | 785.5103 | 785.4971 | 785.4865 | 785.4966 | 785.4985 | 785.4878 | 785.4771 | 785.4872 | 785.4891 | 785.4785 | 785.4679 | 785.4661 | 294.6233 | 191.5529 | 169.5367 | 274.8187 | 283.1342 | 182.9397 | 152.3265 | 267.2645 | 281.2175 | 178.2887 | 141.4271 | 135.2835
10 | irr_Sudafrica_Horizontal_2_7.csv | 259.1493 | 252.3444 | 203.5808 | 203.5808 | 2.6259 | -5.4286e-06 | 7009.3759 | 6917.0931 | 49131350.7921 | 47846177.2475 | 1074.4689 | 848.4368 | 226.0321 | 0.26641 | 0.062108 | 1159.3966 | 1047.9297 | 1015.9974 | 1139.1328 | 1154.2187 | 1044.0181 | 1002.7003 | 1131.9026 | 1152.2231 | 1043.5082 | 1004.5464 | 998.0528 | 848.4546 | 848.4399 | 848.4274 | 848.4445 | 848.4497 | 848.4371 | 848.4245 | 848.4416 | 848.4468 | 848.4342 | 848.4217 | 848.4196 | 310.942 | 199.4897 | 167.5701 | 290.6884 | 305.769 | 195.581 | 154.2758 | 283.461 | 303.7763 | 195.074 | 156.1247 | 149.6332
11 | irr_Sudafrica_Horizontal_2_8.csv | 256.2215 | 249.667 | 201.1647 | 201.1647 | 2.5581 | -2.8518e-06 | 7088.1743 | 6998.0054 | 50242215.0776 | 48972079.9219 | 1062.5242 | 838.627 | 223.8971 | 0.26698 | 0.061903 | 1141.8735 | 1030.9008 | 988.8774 | 1119.9345 | 1139.9374 | 1029.17 | 992.9034 | 1125.9713 | 1146.0162 | 1034.9225 | 1002.5861 | 997.1967 | 838.6348 | 838.6219 | 838.61 | 838.6308 | 838.6385 | 838.6266 | 838.6147 | 838.6355 | 838.6432 | 838.6312 | 838.6194 | 838.6174 | 303.2387 | 192.2789 | 150.2674 | 281.3037 | 301.2989 | 190.5434 | 154.2887 | 287.3358 | 307.373 | 196.2913 | 163.9667 | 158.5793
12 | irr_Sudafrica_Horizontal_2_9.csv | 233.9012 | 228.2959 | 182.7234 | 182.7234 | 2.3964 | 7.6391e-06 | 7751.8873 | 7681.7238 | 60091756.9521 | 59008881.2015 | 971.5513 | 763.9843 | 207.567 | 0.27169 | 0.058897 | 1037.0457 | 938.1275 | 902.1259 | 1021.7856 | 1040.0323 | 940.1301 | 912.2082 | 1029.7088 | 1045.0152 | 945.0791 | 925.3249 | 922.0325 | 763.983 | 763.9712 | 763.9601 | 763.9844 | 763.9944 | 763.9831 | 763.9719 | 763.9963 | 764.0063 | 763.995 | 763.9838 | 763.9819 | 273.0626 | 174.1563 | 138.1659 | 257.8012 | 276.0379 | 176.147 | 148.2364 | 265.7126 | 281.0088 | 181.0841 | 161.3411 | 158.0506